## Read Me
Written Responses to the Questions asked on the 18th January ITM RFI Workshop
PURPOSE We are responding to the questions we received during the 18th of January workshop, in a written format, to ensure that all RFI repondents have access to all and accurate information when responding to the RFI.
BACKGROUND NATO’s IT Modernisation (ITM) capability aims to deliver a flexible, interoperable and scalable IT capability that enables the NATO enterprise to collaborate across all commands, various Communities of Interest (COI) and where appropriate, to Nations up to a NATO Restricted (NR) level. The network will simultaneously be connected to the internet. The ITM project shall provide an available, scalable, secure, mobile, resilient and modern network to the NATO enterprise. The capability will therefore enable NATO staff and other network users to collaborate in an efficient, protected and effortless system. Furthermore, to meet the capacity and compute requirements for the large projected rise in users, data sets and applications, a scalable solution that provides the required data storage and processing capacity to enable data synchronisation across the NATO enterprise is required. ITM will facilitate: • Core services will provide Enterprise-wide collaboration up to NATO RESTRICTED (NR) within the various Communities of Interest (COI), across all commands and elements of the NATO Enterprise and, where appropriate, to Nations; • Data synchronisation across NATO and to provide interconnectivity of the NATO networks so that NATO obtains the greatest potential effectiveness from its assets; • Modern data processing and storage capacity, through the chosen solution, to maintain NATO's progress in becoming a data centric organisation; • Compatibility with NATO’s Federated Mission Network concept (FMN); • NATO’s 2030 Vision in making the alliance effective in a modern world.

## Q&A
18. January Workshop ITM RFI Q&A
These are the written responses to the questions posed in the 18. January Workshop on the ITM RFI.
# | Question | Answer
1 | Will the slides be shared after the presentation? | The slides of the presentation, webinar recording, and questions will be shared on NATO ACT's contracting page (https://www.act.nato.int/contracting/rfi-act-sact-22-05).
2 | ORS set in 22 put in operation in 26 - 4 year duration in IT Tech. is typical process duration in NATO Projects? | The Common Funded Capability Delivery Governance Model (CFCDGM) is the authoritative framework that NATO follows to deliver capabilities. Within the CFCDGM, there are a number of decision gates (ORS, CRB, CPP, PP, CAR) that have to be approved by NATO Governing bodies. The general process takes 4 to 6 years from Operational Requirement Statement (ORS) until capability delivery. For this RFI, we are starting at Governance Model Gate 2 which should reduce the overall timeframe. [See slides 6 and 7 for further context]
3 | How does Next Generation Core/Digital Services relate to this RFI? | The Next Generation Core/Digital Services is the successor program to ITM. It is envisioned that Protected Business Network (PBN) will be the foundation upon which the Next Generation Core/Digital Services will be built.
4 | How can I have the list of all participants to see who I can partner with? | The list of participants to the RFI or AoA workshop is commercial in confidence information between HQ SACT and the respondent, and hence, may not be shared with other entities.
5 | Industry has to wait until Q2 2023 to understand if CoA - Buy or Create will be chosen and industry can be involved, right? | This Request for Information (RFI) is intended to support the data gathering of the Analysis of Alternatives, by exploring available solutions within Nations and Industry. This RFI does not constitute a commitment to issue a future request for proposal (RFP). The approval of the Analysis of Alternatives recommendation as part of the Capability Program Plan (CPP) is an internal process within NATO. Following CPP approval, the Host Nation(s) will produce Project Proposals detailing the implementation plan for the capability. If the recommendation is any combination of Buy or Create, there may be an International Competitive Bidding (ICB) process for Industry from NATO Nations to deliver solutions to meet the requirements. This potential ICB would be released no earlier than Q4 2023 (as shown in Slide 13). This timeline may be subject to changes.
6 | What is your current spent on? a. IT infrastructure (Server/Storage/Networking equipment) b. Hardware maintenance c. O/S licensing d. Data backup e. Colocation data centre f. Data centre’s DR | NATO internal budgets are not public, and hence, may not be shared with publicly. As part of the RFI survey responses, any information provided by respondents regarding similar capabilities or cost structures will be valuable. Respondents may use data from previous projects of similar scale to the scope of NATO's ITM.
7 | How familiar are you with? a. VMware and hosted private cloud b. Veeam backup as a service solution c. Zerto DRaaS | NATO is familiar with VMware, private cloud, backup and disaster recovery solutions. If your entity assesses that any of these technologies can meet the requirements from ITM, please elaborate on the survey responses detailing to which degree and how.
8 | Would any RFP from this Program always be 1 comprehensive RFP or could it fall into multiple RFP's in a mixed Buy/Create approach? | There may be more than one RFP in case of a Buy/Create acquisition strategy. The ITM capability encompasses multiple sub-capabilities covering Physical and Logical scope (Slides 9 and 10). The Analysis of Alternatives will assess the availability of solutions from Nations and Industry to meet all the requirements of ITM. The final recommendation may be Adopt/Buy/Create or a combination thereof. In that case, multiple RFPs could potentially be released.
9 | What is the list of the applications, PaaS and SaaS currently in use? | The current architecture mostly utilizes a combination of centralized and locally installed services and applications. Some of these examples are Sharepoint, webmail, or the NATO Software Factory. NATO currently has PaaS projects in delivery within the wider NATO program called CP150, which encompasses multiple projects from communications, IT infrastructure and cybersecurity, among others. The implementation of ITM will take into consideration potential overlaps and synergies with other projects as part of CP150. The future vision of ITM is to transition to an enterprise level management of current services.
10 | What are your compliance requirements? a. In the US b. In the 11 to 13 other countries (where to deploy the distributed IaaS solution. | There are two main frameworks we have to comply with: NATO cybersecurity regulations and Federated Mission Networking (FMN). For any system, device or software used by NATO, this has to comply with our cybersecurity regulations. In turn, the FMN framework is a set of public standards for interoperability; a link can be found to the FMN standards in the RFI annex. The other point to make is that when we talk about cloud, we can talk about any solution, public, hybrid or private. Our regulations outline that we could use a public cloud if the companies can provide evidence that the cybersecurity is strong enough for the regulations. Our data simply needs to be securely managed and stored. We want to hear your solutions, we are open to any solutions that can fulfil the cybersecurity and FMN regulations.
11 | Within the context of the static geographic regions that the hypothetical system would be installed in/distributed to; how would the personal data clashes be managed? Which GDPR-or similar law would be taken as basis in case of a dispute? | NATO and NATO commands, HQ, and agencies are not bound by national law in the field of Data Protection, including EU’s GDPR. Contractors undertaking to perform a NATO project remain subject to national and supranational legal obligations, as applicable, when not acting or performing directly on behalf of NATO. It remains the responsibility of nations, companies and national entities to determine national and supranational compliance obligations for themselves and the viability of any claims of derivative immunity within their national framework.
12 | Do you own your current Server/Storage/Networking equipment? | Currently, NATO owns and operates the majority of its IT infrastructure. In the future, NATO seeks to explore alternative options such as Infrastructure as a Service (IaaS). There are different approaches that can be taken: - NONO: NATO Owned NATO Operated - NOCO: NATO Owned Contractor Operated - CONO: Contractor Owned NATO Operated - COCO: Contractor Owned Contractor Operated
13 | Will there be an Industry day for presentation + demo's + dialogue. If so where in the timeline? | For the time being we have not planned any such engagement. If necessary, we might conduct another session, but at the moment we do not commit to conducting another session. Again, any information that is provided will be put on the website and so any interested party should regularly check the ACT contracting page. If we do hold any sessions we will add this information to the website.
14 | Being a SaaS-vendor offering a platform for HCM, Finance, Planning and Analytics, how should we answer the RFI? What is of main importance to you to know at this point? | Your answers should take the perspective of your own capabilities, as a SaaS vendor you will not take on the infrastructure layer of the requirements, but you should focus on your compliance with our security regulations and our future changes to the infrastructure. If your solution can comply with our future regulations and infrastructure then you can answer the questions based on the capabilities you currently have available.
15 | Will there be an opportunity to focus on the technical and compliance requirements in the near future (network and site connections, data security, etc) focused on technical details and not programmatic/high level overview? Specifically in the form of a Q/A. Thank you. | At the moment, there is no plan for conducting a technical and compliance open session. However, we welcome any technical questions and queries by email to the RFI POCs, and we will answer as soon as possible.
16 | “What is ACT doing to align this effort with the efforts announced at NIF in Rome to modernizes and expedite acquisition and modernization?” | NATO has identified Digital Transformation as one of the key drivers for the future of the Alliance. The ITM program, as well as its successor Next Generation Core/Digital Services, fall within the umbrella of modernizing the digital capabilities of the NATO enterprise.
17 | Thank you for presentation. Can you describe the number of vendors that manage the network now, how many etc.? Also are there some specific use cases driving your needs. | We cannot share the number of network vendors, as this information is not public. Our first driver in terms of networking and infrastructure is accessibility. One of the main use cases is the ability of a NATO user to travel to any enterprise location and have access to all his/her data, applications, and services. A second driver is the centralized management of all NATO enterprise services, while allowing for granularity in service provision according to each entities' needs. An example of use case would be the distribution of security policies across the whole NATO enterprise identities. In addition, the goal is to increase the flexibility of core services in order to meet data demands and processing power. Finally, the ability to work at NATO Restricted level across the enterprise is instrumental to achieve greater collaboration and information sharing between NATO users.
18 | Will NATO provide representative workloads to include characterization of type (structured, unstructured) of data, persistent capacity, volume and frequency of updates, application type (e.g., collaboration services, ERP, analytics - applied AI/ML, virtual desktop, etc.), and the pace of transitioning existing NATO workloads into the consolidated environment. | We recognize the importance of these parameters while designing the final architecture of the solution. However, at this stage in the Capability Program Plan (CPP), we are documenting ITM's needs as Capability Requirements, which are construed as high level requirements. Further technical details and more prescriptive requirements will be set by the Host Nation at the time of the Project Proposal (PP) phase, after the CPP is approved. We recommend using similar use cases from Industry or Government entities to size the data and processing workloads. The vision of ITM is to transition to a scalable solution that allows for resilience, mobility, and flexibility.
19 | Is this effort picking up on the investment that nations Made with the recently stalled NCIA ITM project? Or is this a separate effort? | The scope of this RFI is separate from the originally programmed ITM project. The current program is designed to lay the foundation for the Next Generation Core/Digital Services program by providing a PBN and data storage and processing capacity.
20 | Could you please elaborate on your requirements for 'Office Automation' and 'Collaboration'? | Both office automation and collaboration services should be centrally managed and accessible throughout the NATO enterprise as global services. - Office automation: office products (text editor, spreadsheet, presentation, etc.) - Collaboration: email services, voice and video teleconferences, chat, content management system (document/data sharing),
21 | May be irrelevant but our national project experience showed that modernization might require modernization of the application and services currently in operation as well. Would there be any software modernization requirement to accompany this endeavour? | The ITM Program and specifically the PBN is concerned with infrastructure modernization and while some applications and service modernization may be required, we would only anticipate the software and core service applications needed to operate the infrastructure layer. ITM encompasses core services, and unified collaboration and communication platform services, which should be modernized over time.
22 | NCIA, as a host nation, has been launching ITM projects in ICB for some years, perhaps only WP or partial projects. These ICB are expected to continue to come out throughout 2022 and even 2023. My question is whether the Phase3: project Proposal is in any way a continuation of the implementing plans currently being developed by NCIA or will it really be a drastic change in the ITM paradigm in terms of scope or ambition? | ITM is part of a wider NATO program called CP150, which encompasses multiple projects from communications, IT infrastructure and cybersecurity, among others. The implementation of ITM will take into consideration potential overlaps and synergies with other projects as part of CP150. The CPP will recommend an acquisition strategy and nominate a Host Nation to implement the projects. The level of ambition has been established in the requirements and vision stated in the RFI. NATO seeks to realize the benefits and opportunities of leveraging state-of-the-art technology for its IT Modernization efforts (Slide 5 and 11).
23 | Partnering with other companies to respond to the RFI is also restricted to industry within NATO Nations? Any other restrictions to the companies (e.g. all company assets need to be placed within NATO nations). | NATO seeks business only from member nations. However, if no Member nation submits a proposal, then a nation from the Partnership for Peace may submit a proposal. But if a firm from a Partnership for Peace nation submits a bid that competes with a bid from a firm of a Member nation, then the bid of the firm from the Partnership for Peace nation must be declared noncompliant. NATO procurement is normally limited to firms or governmental services located within NATO Member Nations. Companies in nations that are not members of NATO, may be allowed to participate in the following cases: - Sole source cases - Non-NATO nations associated member to NSPO Support Partnerships - Non-NATO nations contributing to NATO Trust Funds - Non-NATO with participating troops in NATO-led operations Specific requirements can be found by through engagement with the ACT Contracting Office -
24 | What is ACT's/NATO's future strategy on using cloud for 1) Management, 2) Data , 3) Support - -are there Security and policy restrictions? | The ambition for NATO is a Digital Transformation in the long term. NATO seeks innovative solutions to meet the requirements of ITM and leveraging state-of-the-art technology. ITM will serve as the foundation for the Next Generation Core/Digital Services program. Any solution that meets ITM's requirements will be considered, including, but not limited to cloud computing. All proposed solutions shall comply with NATO cybersecurity regulations and FMN specifications.
25 | The RFI documents mention Satellite IaaS and Distributed SaaS services. Could you elaborate on how you differentiate Satellite from Distributed? | The RFI Annex describes the differences between Satellite IaaS and Distributed IaaS. The Satellite Infrastructure as a Service Pattern is an extension to the core "Infrastructure as a Service Pattern". It provides the Satellite location with a minimal footprint to support designated local only services. The Satellite infrastructure is maintained by automation and/or central service management and control. While centralizing infrastructure services, the Satellite Infrastructure as a Service Pattern provides a means of safeguarding minimum availability and performance levels. Local only services like printing, e-mail and file-storage are hosted on minimal footprint locally. Local infrastructure is self-sufficient for this limited set of services in case of communication failure. Local support is for client devices and applications only.
26 | Considering the scope up to Restricted, does that then translate into required security accreditation of the solution as a whole as well as all constituent parts/services? | Yes, any IT network capability would have to be accredited by the relevant NATO authorities. In addition, the fact that a system may already be accredited to operate as NATO UNCLASSIFIED does not waive the requirement to conduct the accreditation at any other security classification level.
27 | Will you consider public clouds at NR level, or do you require private cloud at that level? | The goal of this RFI is to gather data for the Analysis of Alternatives as part of the Capability Program Plan for ITM. The Analysis of Alternatives explores the solution space to determine whether NATO should Adopt, Buy, Create or use a combination of these to fulfil the ITM requirements. The alternatives will be balanced against NATO policy in the development of plans. At the moment, up to NR solutions can be proposed for public, hybrid and private cloud frameworks. NATO Cloud Security Technical and Implementation Directive provides further details on NATO cloud policy.
28 | Could you please elaborate on the so called data layer, i.e. Data Management, Analytics and AI platforms? Is it correct to assume these are out of scope of the ITM capability? | The PBN and data storage and processing capacity will provide the foundation for NATO's Digital Transformation ambitions, including future data-centric capabilities (e.g. AI, Big Data, data analytics, etc.). The scope of this RFI focuses on the infrastructure and core services layers, leaving data-centric applications out of scope.
29 | Can you identify if a cross domain capability is required immediately; it will help determine if we need to partner with someone now. | The PBN requires cross-domain services, data exchange, and federation capabilities with the Operational Network via information exchange gateways. This cross-domain capability will be required by the Initial Operational Capability date.
30 | How do we reflect in the pricing unknowns that could have massive impact on prices such as passive/active data storage requirement etc.? | Understanding that generic cost models may hold unknowns that would affect accuracy, we would ask that models provided relate to scenarios that highlight costs associated with varying degrees of service. This is to inform ACT about the cost drivers across industry. It will also inform the tailoring of the analysis of alternatives. Survey respondents may provide different cost estimations based on different sets of assumptions for each of the scenarios proposed. These scenarios may be inspired by similar use cases from commercial or governmental organizations, including consideration of service deployment models (public or private, on-prem, off prem, etc.).
31 | During the part where you explained not all parties can provide the entire scope, you alluded to mobility and end users. Are you expecting end-user devices to be in - scope of the PBN network? Hence part of the ITM RFI answer ? | Mobility and end-users devices are part of the scope of ITM such as computers, smart phones, tablets, equipment for end-user connectivity, Wi-Fi, among others. Depending on the service deployment model, additional infrastructure equipment may be required. Lifecycle management of all equipment is also required in order to minimize obsolescence. Survey respondents may be able to meet all the requirements of ITM through a single entity. However, some survey respondents may only be able to meet a portion of the requirements from the RFI. NATO seeks to gather data to understand the solutions available in the market from Nations and Industry. Survey respondents may also partner with other entities to bridge any gap in the requirements, should they wish to do so.
32 | This IT modernization will be in some way related to CP120 Modernization and Upgrade? | There are overlaps as well as backward/forward dependencies with CP120. This cybersecurity program overlaps with CP150, which is the parent program to ITM. The details of the overlaps and dependencies will be addressed at a later stage during the ITM implementation.
33 | What is the role from the business in this RFI? More specific, in terms of functionalities. Do you first need the approval from governance before these steps can/will be taken? | The role from businesses in responding to the RFI is to inform the CPP regarding the availability of commercial and national solutions that could meet the requirements of ITM. The engagement with Nations and Industry as part of this RFI will conclude in the first quarter of 2022, after which the AoA and CPP will be produced. The CPP will contain the acquisition strategy recommendation (Adopt, Buy, Create), which will be reviewed and approved by NATO governance. The current timeline projects a Capability Programme Plan approval by end of 2022, beginning of 2023. Any additional engagement with Industry would only occur at the end of 2023, beginning 2024, in case the AoA recommendation is either Buy or Create.
34 | Follow up. For a utility cost recover model, the ability to estimate cost to NATO requires an understanding of the type of workloads and data processing involved to provide a future cost. | We acknowledge that the current level of detail provided makes it difficult for industry to provide a costing estimate. Thereby, we would ask that models provided relate to scenarios that highlight costs associated with varying degrees of service. This is to inform ACT about the cost drivers across industry. Survey respondents may provide different cost estimations based on different sets of assumptions for each of the scenarios proposed. These scenarios may be inspired by similar use cases from commercial or governmental organizations, including consideration of service deployment models (public or private, on-prem, off prem, etc.), and range of workload scenarios.
35 | At RFI document's sheet of Requirements Assessment, Sub-CR ID column on number of 23,01 and 23,02; it has been stated that "The Protected Business Network shall be accredited by the relevant security authorities" and " Core Services shall comply with NATO security policies, guidance and countermeasures for Information Assurance and Cyber Defence" in cyber security aspect, which institution is authorized for accreditation to Protected Business Network? | Accreditation will be conducted by the NATO Security Accreditation Board (NSAB) following Independent Verification and Validation conducted by NCIA.
36 | From which location will this project be led? HQ in Brussel or US? | As part of the CPP approval, a Host Nation will be nominated, and put in charge of implementing the delivery of ITM. Typically, NATO Communications and Information Agency (NCIA) or NATO Support and Procurement Agency (NSPA) may act as Host Nation for capability development programs, however other entities may be selected as Host Nation. Thus, the work would most likely be led from Europe.
37 | Under a utility model, your "costs" will change based on the volume and frequency of utilities you consume. The number of users is relatively irrelevant. Ten users accessing a 10K node analytic cluster operating on 100PB of data that turns over every 24 hours is going to present a different cost model than 25K users accessing a MattersMost collaboration service. The answer to your buy option cost model is zero cost until you begin using the utilities. Key to this discussion is understanding your digital transformation plan. Priorities - what moves first and why. What commodity infrastructure services do you need to move. Who will do the transition work from legacy to the new infrastructure. That roadmap will determine your Yr1, Yr2, Yr3 cost model. | We acknowledge that the current level of detail provided makes it difficult for industry to provide a costing estimate. Thereby, we would ask that models provided relate to scenarios that highlight costs associated with varying degrees of service. This is to inform ACT about the cost drivers across industry. Survey respondents may provide different cost estimations based on different sets of assumptions for each of the scenarios proposed. These scenarios may be inspired by similar use cases from commercial or governmental organizations, including consideration of service deployment models (public or private, on-prem, off prem, etc.), and range of workload scenarios. In addition, mobility and end-users devices are an integral part of the scope of ITM such as computers, smart phones, tablets, equipment for end-user connectivity, Wi-Fi, among others. Depending on the service deployment model, additional infrastructure equipment may be required. NATO seeks innovative solutions leveraging state-of-the-art technology to meet the ITM requirements. Survey respondents are encouraged to propose solutions that support the ITM vision and realize the benefits from the program (Slide 5 and 11). The transition from the legacy system to the PBN will be conducted in conjunction with the Host Nation.
38 | Which policies and guidelines are expected to comply with in terms of cyber security? | All proposed solutions shall comply with NATO cybersecurity regulations and FMN specifications. For instance, the NATO Cloud Security Technical and Implementation Directive provides further details on NATO cloud policy.
39 | Can we share information additional to the RFI? Datasheets, demos, etc. for inspiration or is this not opportune at this time? | Survey respondents are requested to fill out the RFI spreadsheet with as much detail as possible, and provide comments where applicable. Respondents may also provide additional supporting documentation to complement the answers to the RFI. Any supporting documentation should not exceed 20 pages. Cost estimations may be provided separately, not counting towards the 20-page limit. Any details on costing models, scenarios, and assumptions are highly encouraged.
40 | Are there any conditions that must be met in terms of where data is stored? | All data shall reside within NATO Nations territory.
41 | Please enumerate what is included in "core services." If a mission application is considered essential and core to the NATO mission is that on the table? Or are we limited to providing desktops, identity and access management, collaboration space, email, instant messaging, etc. The cloud should be open to ALL aspects of NATO mission use cases that will also depend on login, policy, roles, messaging, virtual desktop, etc. | Office automation with Enterprise Accessibility: Word processing, spreadsheet, presentation, client database, email services, voice and video teleconferencing, chat, team collaboration, project management. Service Management Control (SMC) improvement and integration to Enterprise Service Management platform, including development of user interfaces for the SMC of the IaaS as well as building the CLI (command line interface). Enterprise DNS. Upgrade and migration of existing core services to the new Enterprise platform. Global identity directory, Enterprise level Identity migration, population of new directories, identity access management tool and role based authorization. Possible (not confirmed yet): Enterprise Core GIS Migration of legacy applications that are not part of core services will be covered under another program, and hence, it is out of scope of this RFI.
42 | What is the time line of the NDA? | The information provided by the RFI is considered Commercial in Confidence and would not be circulated outside the NATO system. Should a requirement arise requiring information or validation from an outside source, only then would a Non-Disclosure Agreement (NDA) be required. The specific length of any NDA would be dictated by the time required to provide the needed information. The information provided through the RFI will only be used to inform our analysis of alternatives in the development of our capability program plan.