Joint Force Training Centre
Command Group

Bydgoszcz | POLAND

Simplified Acquisition – Request for Proposal SA RFP JFTC 4-25 for setting up the Extended Training Area at Polish Military Compound K8685 for Training Event conducted by Joint Force Training Centre.

EDITABLE ENCLOSURES

SA RFP JFTC 4-25 BID PRICE PROPOSAL

On behalf of (Insert: Company Name ____________________) please find the Price Proposal submitted in accordance with the terms and conditions stated in SA RFP JFTC 4-25 and solicitation provisions.

| Service | Total amount for service (NET amount) |
| --- | --- |
| - Delivery, assembling of tents with the integrated equipment/elements |  |
| - Renting tents with the integrated equipment/elements |  |
| - On-site contractor’s support (38 days) |  |
| - Removal, disassembly of tents and integrated equipment/elements |  |

Grand Total Net Price _____________________ Currency     ______________

Please verify and acknowledge propriety of above by duly completing signatures below.

Authorized Company Official:

Printed Name: ___________________________				Title: __________________________________

Position: ________________________________                                    Signature: ______________________________

Date: _________________________________

TECHNICAL EVALUATION MATRIX

| SOW Reference Number | Requirement | Proposed Solution, description of services offered |
| --- | --- | --- |
| 5.1. | TENTS AND CONTAINERS - One tent 50x30 m (Tent F Combined 2 Tents, 30x30 m and 20x30 m) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 50x30 m (Tent G, Combined 2 Tents, 30x30 m and 20x30 m) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 25x30 m (Tent H) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 35x30 m (Tent I) including 220V power supply, extension cables, multiple sockets, lights, and HVAC as per the seating plan identified in the "Tent Layout". - One tent 60x30 m (Tent J, Combined 2 Tents, 30x30 m and 30x30 m) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 50x30 m (Tent K, Combined 2 Tents, 10x30 m (for food storage) and 40x30 m (for dining facility and equipments, there should be a internal door between two tents)) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 20x20 m (Tent M) including 220V power supply, extension cables, lights, multiple sockets, and HVAC as per the seating plan identified in the "Tent Layout". A 360-degree illumination/lighting around the tent during the night must be installed. - One tent 10x15 m (Tent O) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 30x15 m (Tent Q) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - One tent 20x20 m (Tent R) including 220V power supply, extension cables, multiple sockets, lights and HVAC as per the seating plan identified in the "Tent Layout". - Three office hard structure containers (1 for Crypto Storage, 1 for Central Registry, 1 Medical First Aid Facility) including 220V power supply, extension cables, multiple sockets, lights, and HVAC as per the seating plan identified in the "Tent Layout". Containers should have additional structural requirements listed in 5.9 and meet all cooling requirements as they will be hosting national CIS equipment |  |
| 5.2. | The tents must withstand inclement weather (temperature of +35°C and strong winds) during the execution period |  |
| 5.3. | Floor. Tents must have elevated floors with sufficient height to prevent any intrusion or damage. The floor must be hard, isolated, and staged from the ground with material(s) securing thermal isolation. The floor will have low maintenance surface that is easy to clean of liquid or food spills. The floor will be covered with dark carpet |  |
| 5.4. | Walls and roof. The tents must be waterproof and prevent outside elements from affecting the equipment inside. The roof should be equipped with additional cover at least for the execution phase. Tent walls must be made of hard materials (i.e. PVC panels, sandwich panels) that ensure thermal insulation. The tent materials have to be flame resistant, able to withstand snow, ice, wind, and heat, based on an extreme weather forecast (as pointed out in the Background) and exceed safety standards. The insulated liner must maintain a relatively constant temperature, protecting from condensation of steam (by using hard room or double-canvas air-filled roofing) in order to avoid damage to electrical equipment. The side walls have to be approximately 3 meters high. The preferred color of walls and roofs is white in order to better control the temperature |  |
| 5.5. | Fire safety. Firefighting equipment has to be provided (quantity in accordance to Polish law), installed properly and maintained in good working order. There will be portable fire extinguishers installed next to the exit doors in such a way that they are visible to participants. Each tent will also be equipped with an evacuation plan, displayed next to the doors, exit emergency lighting (1 lux on evacuation routes) and signs, marking of emergency routes and direction of evacuation (on internal walls as well), visible signs indicating the location of extinguishers. |  |
| 5.6. | Internal lighting. Lighting of sufficient brightness must be arranged so that personnel can safely transit and perform their jobs in all parts of the tents. Internal wall layouts will be constructed to support sufficient lighting and AC networks. The Contractor will adjust the lighting and AC networks as necessary. |  |
| 5.7. | Each tent will have a minimum two (2) exit doors installed (except for Tent R and O), and up to the number of doors required by the applicable Host Nation fire and safety regulations. The doors must be anti-panic, self-closing. Doors must be sealed in order to prevent outside elements from affecting the temperature inside. Doors have to be equipped with security locks in order to close the access when needed |  |
| 5.8. | Windows. Any windows (in doors or otherwise) that might reasonably afford visual observation of classified activities within the facility shall be made opaque or equipped with blinds, drapes, or other coverings |  |
| 5.9. | Three containers established for Class I. - Construction. The container should be constructed in a manner that provides visual evidence of unauthorised penetration. - Doors. Shall be constructed of wood, metal or other solid material. Entrance doors shall be secured with a built-in and approved three-position combination lock or provided with a rigid wood or metal bar which extends across the width of the door that can be locked with a disposable lock (i.e. FF-P-110J lock). - CCTV. Mobile CCTV system should be installed to allow monitoring of Class I entry points. CCTV should be installed inside of the guards tent directed towards entry to classI (camera no 1) and outside the guards tent, monitoring the perimeter of class I area (camera no 2). The cameras should have ability to record locally without attachment to any network. |  |
| 5.10. | Paths connecting the tents and main locations within the site have to be equipped with rubber walkways |  |
| 5.11. | COOLING: - The air temperature inside all tents must be kept between 20 and 23 degrees Celsius. The humidity in the tents must be above 20% and below 60%, non-condensing. The Contractor must take into consideration that there will be around 900 personnel working, plus associated IT systems, servers, and telecommunication equipment which generate a significant amount of heat - The cooling system offered by the Contractor should be electric. Regardless of the type, the AC must ensure cooling effectiveness - On each entrance to the tent, above the door, air curtain fan should be installed to prevent hot air from getting inside - Cool air must be equally distributed inside tents. NOTE: The interior of the tents is split up via wall panels into single cells. This will influence the flow of the cooled air and therefore the Contractor has to assure equal distribution of the cooled air in order to meet the necessary temperature - The Contractor shall store onsite at least one high power and one medium power operational spare cooler - Each tent shall be equipped with thermometers measuring the inside temperature. There shall be a minimum of one thermometer per 100 square meters |  |
| 5.12. | Loudspeakers/Public Announcement System. The area will be equipped with a complete public announcement system for emergency and general notices, including connection and control unit. Loudspeakers will be installed in each tent and outdoors |  |
| 5.13. | AED. Tent M has to be equipped with AEDs (in English language) and first aid kits for emergency situation. The quantity has to be in accordance with the current Polish law considering the camp capacity of 900 people |  |
| 5.14. | TABLES: Each tent (except the dining tent), will be equipped with tables (for details please see Annex A with the detailed seating plan). Dimensions: folding tables 1.60m * 0.8m (+/- 5 cm) Required number: 500 tables. CHAIRS: Each tent (except the dining tent) will be equipped with chairs, the detailed seating plan will be provided for the set-up. Comfortable/high-standard folding chairs (minimum standard comparable with ZOWN Aran chairs), required number: 1000 chairs. 50 COMFORTABLE NON FOLDING CHAIRS for the Conference room are required. DIVIDERS/PORTABLE OFFICE WALL PANELS: Each divider unit should be approximately 1 m wide and 1.9 - 2.1 m high for a total length of about 1730 m (for details please see Annex A) WASTE BINS: Waste bins 120 litres – quantity 36: - for general waste - for plastic and metal waste 6 for paper waste 6 for glass waste PANELS for hardening the surface between tents - 1000 square meters MOVABLE FLIPCHARTS – 10 pieces |  |
| 5.15. | DIESEL GENERATORS. 3 x 250 kW power diesel generator for the dining tent (at least 100 kW) plus the power necessary for lights, cooling systems and toilets (from 19 May to 25 June 2025; 24/7), including power distribution boxes, electrical boxes (6-8 outlets per box), cabling, other necessary accessories and the power distribution system from the generators to the tents, mobile toilet block and containers. The Contractor has to provide as many as required power distribution and electrical boxes, cabling and any accessory needed to implement the power distribution seamless regardless the specific requirement reported above. The provision has to include: - Nr. 2 Power panels 380V/63A with 2 socket with extended cables; - Nr. 2 64Amp Plugs; - Nr. 2 BTuLBc3na 16 Amp; - Voltage convertor 220 V to 110 to power 20 workstations Cabling from the generator and from the shore-power access points to the tents/containers and the powered locations has to be covered by road crossing protection devices for tubes. The Contractor will provide the proper devices/adaptor in case the power distribution could required US standard to power some specific tent/location. The provision of the generators has to include one fuel tank to grant a functioning autonomy of 3 days without refueling. Contractor’s personnel will refuel generators from a fuel tank if required. The Contractor has to provide wiring and power distribution from the shore power access points (probably 3 access points, 1x130 Kw) and from the generators to all powered locations. Additional 60 multiple sockets (6-8 outlets on a 5-meter cable) are required. Each generator provided must assure the full requested power at the estimated consumption of at least 250 kW (100 kW plus the power necessary for lights, cooling systems and toilets). In case the generator is too noisy, the Contractor has to provide proper sound- absorbing panels. Provision and the installation of 3 electricity meters to measure and monitor energy consumption will be required for the connection to external power supply (1 per shore power access point). |  |
| 5.16. | FORKLIFT WITH AN AUTHORISED DRIVER One 16-ton forklift and a driver,will be required on request (short notice) as follows (dates could be subject to minor changes): - Available on site at the military compound from 12 May to 2 June 2025 (inclusive) to support camp set up; - Available on site at the airfield from 21 to 27 June 2025 (inclusive) to support camp tear down. |  |
| 5.17. | FENCES AND LIGHTING MAST. FENCES: - Fences to build a NATO Security Area Class II - Outer ring. Total 700 m; 4 gates, each with two sides. - Fences to build a NATO Security Area Class I - Inner ring. Total 300 m; 2 gates, each with two sides. - No visibility through the fences is required (hessian fabric for cover) - The fence must be made of metal and be higher than 1.8m MOBILE LIGHTING MASTS 2 diesel outdoor mobile lighting masts with fully directional lamps will be required from 19 May 2025 to 25 June 2025 (dates could be subject to minor changes) |  |
| 5.18. | EXTRA WEIGHTS (e.g. sandbags) will be required to secure additional tents and outdoor equipment, like antennas. Required quantity: 200 sandbags/weights, 10 kg each |  |
| 5.19. | STORAGE LOCKERS. Lockers for 1700 mobile phones and lockers for 200 personal laptops will be required in the Guard Tent. Lockers composite from separate safes each numbered with spare keys. |  |
| 5.20. | MOBILE TOILETS. 50 sanitary cabins, including 10 to be reserved for women, equipped with washbasins, connected to an external water supply, sewer and electricity. The required operational period is 26 May – 27 June 2025 (inclusive), dates could be subject to minor changes |  |
| 5.21 | FIELD KITCHEN EQUIPMENT Rental period between 2 June till 20 June 2025. - Small spoon - 1000 pcs - Big spoon - 1000 pcs - Fork - 1000 pcs - Knife - 1000 pcs - Trolley for GN Containers - 2 pc - Tray trolley (32 compartments) – 20 pcs - GN 1/1 container 65mm – 300 pcs - GN 1/1 container 100mm – 50 pcs - Term box – 8 pcs - Dinner tray – 600 pcs - Two-bowl sink – 1 pc - Convection steam oven 12GN 1/1 40KW – 1 pc - Fridge 1200l – 1 pc - Cooler - 19 pcs - Mobile dishwasher - 2 pcs |  |
| 5.22.5 | The Contractor will provide all electrical connections to the power distribution boxes where required (including the Dining Tent and mobile toilets). |  |
| 10.4 | Miscellaneous / coordinating issues. The Contractor will provide all: - Transportation - Materials, - Tools and accessories. - Forklift. - Personnel required. |  |
| 11 | Security Conditions. The personnel working on NATO premises must be from NATO member countries |  |

COMPLIANCE STATEMENT

It is hereby stated that our Company has read and understood all documentation issued as a part of the SA RFP JFTC 4-25. There are no further questions or requests for clarifications regarding this SA RFP.

Company: 	____________________ 	Signature: ________________________

Name & Title: ____________________	Date: ____________________________

__________________________________________________________________________

The proposal of our Company submitted in response to the referenced solicitation is fully compliant with the provisions of SA RFP JFTC 4-25, and the intended contract with the following exception(s); such exemptions are considered non-substantial to the JFTC solicitation provisions issued.

Clause 				Description of Minor Deviation

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

------------------------------ 		---------------------------------------------------------------------

(If applicable, add another page)

Company: 	____________________ 	Signature: ________________________

Name & Title: ____________________	Date: ____________________________