## Tab 0- General compliance crite
RFP-ACT-SACT-26-54 - Service Cloud Service
Compliance matrix
Tab 0 - General compliance criteria (applicable to both Lots)
Bidders are required to submit this self assessment compliance matrix (Tab 0- General compliance criteria and following Tabs Evaluation criteria per Lot as applicable)
An assessment of “ non-compliant” in any of the criteria of the Compliance Matrix or a score of “ 0” (zero) in any of the criteria of the Best Value Matrix, will result in the bidder’ s proposal as being “ Technically Non-Compliant” . A minimum total technical score of 60/100 points is required to adequately meet the requirement for this solicitation. A proposal with a minimum total technical score of less than 60 points will be graded as “ Technically Non-Compliant”.
SER | ITEM | Biiders self assessment COMPLIANT or NOT COMPLIANT | Page, Paragraph and Line Number Reference where Bidder meets criteria. Failure to provide this data may result in disqualification.
1 | Contractor is headquartered in a NATO nation and all personnel supporting this contract (including subcontractor’s personnel and consortium member) must be a citizen of a NATO member nation. If individuals have dual citizenship that includes a non-NATO nation, their citizenship must be provided. Contractor shall be legally authorized to operate in NATO member nations at the time of the bidding.
2 | Contractor is to provide a minimum of two past performance citations (for work within the past five years) to show that it has successfully completed work that is similar to or directly traceable to the requirements outlined in this SOW.
3 | Key personnel are citizens of NATO member nation with valid passport with no travel restrictions relevant for Contract performance. (Nationality must be indicated to include other citizenships)
4 | The bidder shall demonstrate the capability to deliver a secure cloud service off-premises distributed among different sites, within NATO countries
5 | Bidders (including subcontractors, partners and/or consortium members) shall hold a NATO SECRET Facility Security Clearance (FSC). The Proposed individual team members shall hold NATO Personnel Security Clearance (PSC) at a minimum of NATO SECRET, at the time of the start of performance of the Contract.
End of Tab 0

## Tab 1 - Comp 1 Evaluation crit
RFP-ACT-SACT-26-54 - Service Cloud Service
Compliance matrix
Tab 1 - Best Value Matrix for Lot 1
Bidders are required to submit this self assessment compliance matrix (Tab 0- General compliance criteria and following Tabs Evaluation criteria per Lot as applicable)
An assessment of “ non-compliant” in any of the criteria of the Compliance Matrix or a score of “ 0” (zero) in any of the criteria of the Best Value Matrix, will result in the bidder’ s proposal as being “ Technically Non-Compliant” . A minimum total technical score of 60/100 points is required to adequately meet the requirement for this solicitation. A proposal with a minimum total technical score of less than 60 points will be graded as “ Technically Non-Compliant”.
SERIAL # | Criteria | Maximum point | Range | Bidders Self-assessment score | Page, Paragraph and Line Number Reference where Bidder meets criteria. Failure to provide this data will result in disqualification.
1 | Air-Gap Architecture Maturity: Ability to deliver a fully isolated environment with no dependency on external/public networks, verified through architecture and connectivity validation. | 20 | 0 pts: Internet dependency identified or external service required. 5 pts: Logical isolation only; external dependencies remain. 10 pts: Physical isolation demonstrated at 1 site. 15 pts: Physical isolation demonstrated at ≥2 sites with no external dependency. 20 pts: Fully independent infrastructure (compute, storage, network, IAM) across all nodes, validated with no external dependency.
2 | Security Assurance and Sovereign Control: Degree of NATO control over infrastructure, security stack, and cryptographic elements. | 20 | 0 pts: CSP retains control of security and keys. 5 pts: Partial NATO control of IAM or monitoring only. 10 pts: NATO control over IAM and audit logs. 15 pts: NATO control over IAM + logging + key lifecycle (HSM or equivalent). 20 pts: Full NATO control of all security components (IAM, logging, encryption, HSM, policies) with independent administration.
3 | Off-premises Multi-Site and Multi-National Distribution: Ability to deploy across different sites in different NATO nations, with operational consistency. | 20 | 0 pts: 1 site. 5 pts: ≥2 sites, single country. 10 pts: ≥2 sites, 2 countries. 15 pts: ≥3 sites across ≥2 countries 20 pts: ≥4 sites across ≥3 NATO countries with validated federation (consistent identity, policy, and workload deployment).
4 | Performance and Resilience in Isolated Environment: Ability to meet performance and availability targets under failure scenarios. | 10 | 0 pts: No SLA or failover capability. 5 pts: Single-node or no redundancy. 10 pts: ≥1 redundancy mechanism (compute or network). 15 pts: Multi-site failover with RTO ≤ 4h and RPO ≤ 1h. 20 pts: Full multi-site resilience with RTO ≤ 1h and RPO ≤ 15 min under tested failure scenario.
5 | Cross-Domain Integration Capability: Ability to securely ingest data through controlled transfer mechanisms (CDS/CTS). | 10 | 0 pts: No secure ingestion. 2.5 pts: Manual transfer without audit. 5 pts: Controlled ingestion with logging. 7.5 pts: Automated transfer with validation and traceability (logs + integrity checks). 10 pts: Fully automated CDS/CTS with policy enforcement, audit logging, and data validation (classification + integrity).
6 | Migration Sandbox in Air-Gapped Context: Ability to onboard and validate applications in an isolated environment. | 10 | 0: No sandbox capability demonstrated 2.5 pts: Demonstrated Deployment of test environment only. 5 pts: ≥1 Demonstrated application deployed successfully. 7.5 pts: ≥2 Demonstrated applications deployed and executed with rehosting approach identified. 10 pts: ≥4 Demonstrated application deployed, executed, and validated as rehost-ready (no blocking dependency).
7 | Community of Interest workflows - Secure Digital Workspace, Secure Generative AI, Allied Federated Surveillance and Control (AFSC), and Centre for Maritime Research and Experimentation (CMRE). | 10 | 0 pts: No COI workflow deployment capability demonstrated 2.5 pts: 1 Demonstrated COI workflow deployment capability and operational for testing. 5 pts: 2 Demonstrated COI workflow deployment capability and operational for testing. 7.5 pts: 3 Demonstrated COI workflow deployment capability and operational for testing. 10 pts: 4 Demonstrated COI workflow deployment capability and operational for testing.
Total maximum points |  | 100 |  | 0
End of Tab 1

## Tab 2- Comp 2 Evaluation criter
RFP-ACT-SACT-26-54 - Service Cloud Service
Compliance matrix
Tab 2 - Best Value Matrix for Lot 2
Bidders are required to submit this self assessment compliance matrix (Tab 0- General compliance criteria and following Tabs Evaluation criteria per Lot as applicable)
An assessment of “ non-compliant” in any of the criteria of the Compliance Matrix or a score of “ 0” (zero) in any of the criteria of the Best Value Matrix, will result in the bidder’ s proposal as being “ Technically Non-Compliant” . A minimum total technical score of 60/100 points is required to adequately meet the requirement for this solicitation. A proposal with a minimum total technical score of less than 60 points will be graded as “ Technically Non-Compliant”.
SERIAL # | Criteria | Maximum point | Range | Bidders Self-assessment score | Page, Paragraph and Line Number Reference where Bidder meets criteria. Failure to provide this data will result in disqualification.
1 | Confidential Computing and Data-in-Use Protection: Ability to protect data during processing using secure enclaves/TEEs. | 20 | 0 pts: No data-in-use protection. 5 pts: Encryption at rest/in transit only. 10 pts: TEE used for limited workload. 15 pts: TEE used for ≥1 COI workload with attestation. 20 pts: TEE used for ≥2 COIs with attestation and isolation of all sensitive processing workloads.
2 | Cryptographic Sovereignty and Key Management: Degree of NATO control over encryption keys and lifecycle. | 20 | 0 pts: CSP holds keys. 5 pts: Partial control (BYOK only). 10 pts: External key storage managed by NATO. 15 pts: Dedicated HSM under NATO control. 20 pts: Full sovereign key management (HYOK), with external NATO-controlled HSM, zero key exposure to CSP.
3 | Hybrid Architecture Integration: Ability to securely integrate NATO infrastructure and cloud environment. | 20 | 0 pts: No hybrid integration. 5 pts: Basic connectivity only. 10 pts: Secure connectivity (network + encryption). 15 pts: Unified IAM and policy enforcement across environments. 20 pts: Full hybrid integration with unified IAM, ZTA enforcement, and consistent policy control across all workloads.
4 | Scalability and Cloud Service Capability: Ability to scale for AI, COIs, and data workloads. | 20 | 0 pts: No scaling capability. 5 pts: Fixed capacity. 10 pts: Manual scaling supported. 15 pts: Auto-scaling for ≥1 workload (e.g. AI or data processing). 20 pts: Auto-scaling across ≥2 COIs supporting concurrent workloads ≥100 users, with performance maintained.
5 | Application Migration and Cloud Readiness Capability: Ability to onboard applications and prepare them for enterprise cloud transition. | 10 | 0 pts: No migration support demonstrated. 2.5 pts: Deployment capability mentioned but not demonstrated. 5 pts: ≥1 Demonstrated application deployed successfully. 7.5 pts: ≥1 Demonstrated application rehosted and executed with identified constraints. 10 pts: ≥1 Demonstrated application per COI deployed, executed, and validated as rehost-ready (no blocking dependencies for transition).
6 | Community of Interest workflows - Secure Digital Workspace, Secure Generative AI, Allied Federated Surveillance and Control (AFSC), and Centre for Maritime Research and Experimentation (CMRE). | 10 | 0 pts: No COI workflow deployment capability demonstrated 2.5 pts: 1 Demonstrated COI workflow deployment capability and operational for testing. 5 pts: 2 Demonstrated COI workflow deployment capability and operational for testing. 7.5 pts: 3 Demonstrated COI workflow deployment capability and operational for testing. 10 pts 4 Demonstrated COI workflow deployment capability and operational for testing.
Total maximum points |  | 100 |  | 0
End of Tab 2